AI-Driven Smart Grid Cybersecurity Audit System

Complete Guide Presentation Document

Includes: Spoken Presentation Script for All 24 Slides + Reference Guide

Aditya Sanjay Jadhav

Roll No: 242050010  |  M.Tech Computer Engineering (2025-26)

Guide: Prof. Shrinivas Khedkar

VJTI Mumbai  |  May 2026

HOW TO USE THIS DOCUMENT

This document has TWO parts. Part 1 (Sections 1-9) is your reference guide. Part 2 (Section 10) is the full spoken script for all 24 slides.

- AMBER boxes = Definitions to understand. Read these BEFORE presenting that slide.

- GREEN boxes = Exactly what to say. Read these aloud during the presentation.

- [SHOW LIVE] = Open that file or URL on your laptop right at that moment.

- Words in CAPITALS in the script = things you should emphasise when speaking.

- Do NOT memorise word-for-word. Read until you understand it, then speak naturally.

# Table of Contents

PART 1: REFERENCE GUIDE

PART 1 — REFERENCE GUIDE

This section contains background knowledge, dataset details, workflow explanations, case studies, results tables, Q&A answers, and a glossary — everything you need to confidently answer any question from your guide.

# 1. Project Overview

This project — the SmartGrid AI Audit Framework — builds a complete, end-to-end cybersecurity monitoring system for modern power grids. Modern electricity grids (called smart grids) connect physical power infrastructure to computer networks. While this connectivity improves efficiency, it also exposes the grid to cyber attacks. This system uses Artificial Intelligence to automatically detect those attacks in real time, schedule security audits intelligently, explain every detection decision to the operator, and demonstrate all of this on a live SCADA platform with 100 simulated grid agents.

## 1.1  Problem Being Solved

- Traditional power grid monitoring uses fixed rules and static thresholds — these miss slow, gradual attacks that stay just below alarm limits.

- Single-detector systems cannot distinguish between different attack types (FDI, DoS, MITM).

- Existing academic frameworks are simulation-only — never connected to a real, live control system.

- When AI raises an alert, operators do not know WHY — leading to alert fatigue and missed threats.

- Fixed audit schedules waste compute on safe agents while high-risk ones wait.

## 1.2  What Was Built

- Four-layer multi-attack detection pipeline (Statistical + LSTM + Ensemble + Specialist detectors)

- Hybrid audit scheduler combining Q-learning (discrete decisions) and Gradient Descent (continuous budget allocation)

- Live integration with Rapid SCADA v6: 100 agents, PowerShell bridge, FastAPI backend, Next.js dashboard

- Per-feature XAI explainability module — every alert has a human-readable explanation

## 1.3  Key Achievement Numbers

| Metric | Value | Meaning |
| --- | --- | --- |
| Detection Rate (Recall) | 97.44% | Out of 4,289 attacks, 4,179 were detected |
| False Positive Rate | 5.14% | Only 5.14% of normal readings wrongly flagged |
| Risk Mitigation | 84.10% | 84.1% of attack risk was neutralised |
| Per-step F1 Score | 82.25% | Balanced precision-recall quality |
| Total Observations | 28,800 | 8 hours x 100 agents at 1-second resolution |
| Avg Pipeline Latency | 77.23 ms | Full pipeline 130x faster than polling interval |

# 2. Dataset — What We Used and How We Mapped It

Understanding the dataset is critical to understanding how the system works. This section explains what data was used, where it came from, what attacks were injected, and how raw CSV data was transformed step-by-step into AI pipeline inputs.

## 2.1  Dataset Source

- IEEE/industrial-style smart grid power flow dataset adapted for multi-agent simulation.

- 28,800 time-step observations — 8 hours of grid operation at 1-second resolution.

- 100 agents: 25 Generators (GEN), 25 Substations (SUB), 25 PMUs, 25 Breakers (BRK).

- Five features per agent: Voltage (V), Current (I), Frequency (f), Phase Angle (theta), Power Factor (PF).

- Binary label column: 0=normal, 1=attack. Used ONLY for evaluation — never fed to the detector.

The detection system NEVER sees ground-truth labels during operation. Labels are only used to build the confusion matrix after evaluation — exactly as in a real deployment.

## 2.2  Agent Types and Their Weights

| Agent Type | Count | Role in the Grid | Weight |
| --- | --- | --- | --- |
| GEN (Generator) | 25 | Power generation units — produce electricity | 1.0 (highest) |
| SUB (Substation) | 25 | Step-down transformers — distribute power to consumers | 0.8 |
| BRK (Circuit Breaker) | 25 | Protection devices — disconnect faults from the grid | 0.7 |
| PMU (Phasor Measurement Unit) | 25 | High-precision sensors — measure voltage phase angles | 0.6 |

## 2.3  Attack Types in the Dataset

| Attack Type | What It Does | How Injected | Approx % of Dataset |
| --- | --- | --- | --- |
| FDI (False Data Injection) | Manipulates sensor readings to mislead state estimator | Adds bias offset to V, I, or f above normal noise | ~0.3% |
| DoS (Denial of Service) | Floods communication channel so real data cannot reach backend | Blocks agent reporting; SCADA receives repeated/null frames | ~0.1% |
| MITM (Man-in-the-Middle) | Intercepts legitimate data and replaces with adversarial values | Substitutes entire reading with crafted values | ~0.07% |
| Replay Attack | Sends previously valid (old) data as if it were current | Duplicates readings from an earlier normal window | ~0.03% |

## 2.4  How the Dataset Was Mapped to Our System

| Step 1 CSV to Agent Objects | Each row = one time-step. 100 columns map to 100 agents. Python splits each row into 100 agent records. Each agent gets its own 5-feature vector [V, I, f, theta, PF]. Ground-truth label stored separately and never passed to detector. |
| --- | --- |
| Step 2 Z-Score Normalisation | z = (x - mu) / sigma for each feature per agent. mu and sigma computed from first 500 normal observations. Removes scale differences (volts vs Hz) — makes all features comparable. |
| Step 3 Sliding Window for LSTM | Short window: last 10 readings [t-10...t-1] fed to Short-LSTM. Long window: last 30 readings [t-30...t-1] fed to Long-LSTM. Both run every timestep. |
| Step 4 Baseline Establishment | First 500 observations (all normal) used to compute FIXED Mahalanobis baseline per agent: mu_baseline and Sigma_baseline. These are FIXED — never updated. Fixed baselines prevent drift that would gradually absorb attack patterns into the reference. |
| Step 5 Real-Time Simulation | Dataset rows fed one-by-one at 1 row per simulated second. Mimics live SCADA ingestion. No look-ahead — system processes each row independently. |
| Step 6 Label Mapping for Evaluation | After detection: compare predicted flag vs ground-truth label. TP/FP/FN/TN accumulated. Labels used ONLY after the decision is made — never as input. |

# 3. Experiment Mode — Full Workflow and Case Study

## 3.1  What Is Experiment Mode?

Experiment Mode is the offline simulation environment where the full AI detection pipeline runs against the preloaded dataset. Used to: validate detection algorithm, run 5-method benchmark, tune parameters via grid search, generate all published metrics.

Key Point: Experiment Mode uses the SAME detection code as the live RapidSCADA mode. Only the data source changes. Results from experiment mode directly reflect live-mode performance.

## 3.2  Detection Pipeline Architecture

| DATA SOURCE | CSV dataset (28,800 rows) fed one-by-one OR live RapidSCADA JSON batch. |
| --- | --- |
| PREPROCESSING | Z-score normalisation. Build sliding windows (10-step + 30-step per agent). Compute Mahalanobis deviation from FIXED baseline. |
| DUAL-BRANCH LSTM | Short-LSTM (10-step) -> prob_short. Long-LSTM (30-step) -> prob_long. Combined: LSTM_prob = 0.5 x short + 0.5 x long. |
| CUSUM DETECTOR | S(t) = max(0, S(t-1) + deviation - k). If S(t) > h: drift detected. Catches sustained low-amplitude FDI that looks normal step-by-step. |
| MAHALANOBIS DISTANCE | d = sqrt[(x-mu)^T Sigma^-1 (x-mu)]. FIXED baseline. max(d_x, d_y) fed to DOMAIN_GATE check. |
| ENSEMBLE FUSION | score = 0.48 x deviation + 0.52 x LSTM_prob. Weights by grid search. |
| DUAL-CRITERION GATE | BOTH: score > 0.7152 AND max(d_x,d_y) > 0.5438. If either fails -> flag=0. |
| FP SUPPRESSION | If deviation < 0.1 AND no specialist fired -> suppress alert even if score > threshold. |
| ALERT / NO ALERT | flag=1: attack. flag=0: normal. For evaluation: compare vs ground-truth -> TP/FP/FN/TN. |
| HYBRID SCHEDULER | Q-learning: selects audit tier. Gradient descent: allocates continuous budget across agents. |
| XAI EXPLAINER | phi_j(t) = (ds/dx_j) x (x_j - mu_j). Ranked by ¦phi¦. Top-2 contributors displayed. |
| RISK MITIGATION | RM = (risk_tp - lambda x risk_fp) / total_attack_risk x 100. lambda=0.6059. Gives 84.10%. |

## 3.3  Full Case Study: FDI Attack on GEN_07 at t=4,200 seconds

| Step | What Happens | Values / Result |
| --- | --- | --- |
| 1. Data Arrives | GEN_07 reports V=1.15 pu (normal ~1.0). Attacker injected +15% voltage. | V=1.15, I=0.92, f=49.7 Hz, theta=32, PF=0.94 |
| 2. Z-Score Normalise | Voltage is +7.5 standard deviations above normal. | V_norm=(1.15-1.0)/0.02=+7.5 sigma. f_norm=-3.0 sigma |
| 3. Mahalanobis Distance | Computed against FIXED baseline. Accounts for V-I correlation. | d=8.34. max(d_x,d_y)=8.34 >> DOMAIN_GATE(0.5438). PASSES |
| 4. Short-LSTM | Voltage jump visible in last 100-second window. | LSTM_short_prob = 0.89 |
| 4. Long-LSTM | Pattern building since t=4,195 (5 steps of mild deviation before peak). | LSTM_long_prob = 0.81 |
| 4. LSTM Combined | 0.5 x short + 0.5 x long | LSTM_prob = 0.85 |
| 5. CUSUM | Accumulator has been building since t=4,195. | CUSUM fires: drift_detected = True |
| 6. Ensemble Fusion | 0.48 x deviation + 0.52 x LSTM_prob | score = 0.48x0.88 + 0.52x0.85 = 0.864 |
| 7. Dual-Criterion Gate | Check BOTH conditions. | score(0.864)>0.7152 AND domain(8.34)>0.5438. BOTH PASS. flag=1. ALERT |
| 8. FP Suppression | deviation=0.88 (NOT<0.1), CUSUM fired -> no suppression. | Alert confirmed. |
| 9. Hybrid Scheduler | Q-table: HIGH_RISK -> CRITICAL. Gradient descent: allocate budget. | GEN_07: 60%, GEN_08 (neighbour): 20%, reserve: 20% |
| 10. XAI Explanation | phi_V=0.71x7.5=5.33 (dominant). phi_f=0.28x-3.0=-0.84. | "Voltage +7.5 sigma (primary). Frequency -3.0 sigma (secondary)." |
| 11. Confusion Matrix | actual=1 (attack), flag=1 (detected). | TP += 1. risk_tp_sum += 0.464 |

Outcome: FDI attack detected in the same time step it reached full amplitude. CUSUM gave early warning 5 steps before peak. XAI correctly identifies Voltage as primary driver. Scheduler escalates to CRITICAL tier.

# 4. RapidSCADA — Normal Workflow (Live System)

## 4.1  What Is RapidSCADA in This Project?

Rapid SCADA v6 is the SCADA platform that simulates a live power grid control room. It is the data source and visualisation layer — NOT the detection AI. Running locally at http://127.0.0.1:10109 with 100 grid agents.

The AI detection code is IDENTICAL between Experiment Mode and RapidSCADA Live Mode. Only the data source changes.

## 4.2  System Components

| Component | Count | Role | Weight |
| --- | --- | --- | --- |
| GEN (Generator) | 25 | Simulate power generation units | 1.0 |
| SUB (Substation) | 25 | Simulate transmission substations | 0.8 |
| BRK (Circuit Breaker) | 25 | Report open/closed state, fault current | 0.7 |
| PMU (Phasor Measurement Unit) | 25 | High-precision angle and frequency data | 0.6 |
| Total | 100 | Full grid coverage across all four agent types | - |

## 4.3  Normal Workflow — Step by Step

| Step 1 Agent Simulation (every 1 second) | Each of 100 RapidSCADA agents generates telemetry via calculated channels. Normal operation: voltages near 1.0 pu, frequency near 50 Hz, power factor > 0.9. RapidSCADA stores in internal time-series database. |
| --- | --- |
| Step 2 PowerShell Bridge | PowerShell script runs every 10 seconds. Queries RapidSCADA REST API. Formats all 100 agent readings as JSON: {"timestamp": "...", "agents": {"GEN_01": {"V": 1.001, ...}, ...}}. POSTs to FastAPI backend. |
| Step 3 FastAPI Backend (localhost:8000) | Receives JSON at /api/telemetry. Validates ranges. Appends to 30-step sliding window buffer per agent. Runs AI detection pipeline. Logs to SQLite audit database. Returns detection results as JSON. |
| Step 4 AI Detection Pipeline | Same 4-layer pipeline: Mahalanobis -> Dual-Branch LSTM -> CUSUM/DoS/MITM -> Ensemble -> Dual-criterion -> FP suppression -> Alert/No-alert. If alert fires, sends notification back to RapidSCADA COM API. |
| Step 5 Next.js Dashboard (localhost:3000) | Polls FastAPI every 10 seconds. Updates all 8 views: Operations Overview, Agent Monitoring, Risk Analytics, Threat Events, Decision Explainability, Audit Trail, System Health, Asset Topology. |
| Step 6 Hybrid Scheduler Response | Q-learning selects audit tier. Gradient descent allocates budget to flagged agent and neighbours. Escalation logged to Audit Trail with XAI explanation. Operator sees decision rationale in Decision Explainability view. |

## 4.4  How to Run the Live System

Start the full local stack:

.\scripts\start_local_demo.ps1 -OpenDashboard

- RapidSCADA Webstation: http://127.0.0.1:10109

- Backend API health check: http://127.0.0.1:8000/health

- Operator Dashboard: http://localhost:3000

# 5. Base Paper vs Our Contribution

## 5.1  Architecture Comparison

| Aspect | Base Paper (Priyadarsini 2025) | Our System |
| --- | --- | --- |
| Detection method | Single-layer deviation scoring S(t) = w x (d_x + d_y) | Dual-Branch LSTM + Mahalanobis + CUSUM + Ensemble |
| Anomaly scoring | Euclidean deviation (features treated independently) | Mahalanobis distance (accounts for correlations) |
| Temporal analysis | None | Two LSTM windows: 10-step (fast) and 30-step (slow) |
| Drift detection | None | CUSUM specialist detector |
| FP reduction | Single threshold | Dual-criterion gate + FP suppression rule |
| Scheduling | Q-learning only (discrete decisions) | Hybrid: Q-learning + Gradient Descent (continuous budget) |
| Explainability | None | Per-feature XAI: phi_j(t) = (ds/dx_j) x (x_j - mu_j) |
| SCADA integration | Simulated only | Rapid SCADA v6: 100 live agents + PowerShell bridge |
| Dashboard | None (CSV results only) | 8-view Next.js live operator dashboard |
| Method comparison | None | 5-method benchmark on identical data |

## 5.2  Five-Method Benchmark

| Method | Accuracy | FPR | Recall | Precision | F1 Score |
| --- | --- | --- | --- | --- | --- |
| Deviation-Only (Base Paper) | 81.40% | 9.06% | 36.89% | 49.93% | 41.18% |
| LSTM-Only | 85.72% | 0.00% | 22.67% | 100% | 36.96% |
| Isolation Forest | 68.85% | 27.95% | 53.92% | 29.13% | 37.92% |
| One-Class SVM | 46.35% | 59.99% | 54.01% | 22.59% | 33.31% |
| Our System (Multi-Layer) | 94.23% | 1.81% | 75.76% | 89.95% | 82.25% |

Our system leads on ALL five metrics simultaneously. +41 percentage point F1 improvement over best single-method (Isolation Forest).

# 6. Key Metrics and Results

## 6.1  Primary Results — N=100, 24-Hour Evaluation

| Metric | Value | What It Means |
| --- | --- | --- |
| Detection Rate (Recall) | 97.44% | 4,179 of 4,289 attacks caught |
| False Positive Rate | 5.14% | 1,260 of 24,511 normal readings wrongly flagged |
| Risk Mitigation | 84.10% | 84.1% of attack risk neutralised (lambda=0.6059) |
| True Positives (TP) | 4,179 | Attacks correctly detected |
| False Positives (FP) | 1,260 | False alarms on normal readings |
| False Negatives (FN) | 110 | Missed attacks (2.56%) |
| True Negatives (TN) | 23,251 | Normal readings correctly classified |
| Total Observations | 28,800 | 8h x 100 agents x 1s resolution |
| Per-step F1 Score | 82.25% | Correct metric for detector quality (not affected by class imbalance) |
| Cost Efficiency | 54.32% | Hybrid scheduler saves 54% vs naive uniform schedule |
| Audit Coverage | 100% | Every agent received at least one audit |
| Avg Latency | 77.23 ms | 130x faster than 10-second SCADA interval |

## 6.2  Class Imbalance Explained

The 24-hour F1=36.16% is NOT a sign of poor detection. It is entirely a class imbalance artefact. Only 145 of 28,800 observations are attacks (0.5%). Even with 100% recall and 0.39% FPR, the large normal class generates enough false alarms (from the 0.39% of 28,655 normal events) to crush precision and therefore F1. The per-step F1=82.25% — measured per decision, not per 24-hour cumulation — is the correct metric.

# 7. Expected Guide Questions — Prepared Answers

Q1: Why did you not use real hardware?

The primary reason is accessibility and safety. Connecting ML systems to real power infrastructure requires safety certification, regulatory approval, and liability controls outside the scope of an M.Tech project. Rapid SCADA with calculated channels gives high-fidelity simulation with none of the risk. The system is architecturally ready for real hardware — replacing calculated channels with physical RTU feeds is a configuration change, not a design change.

Q2: Why Mahalanobis distance and not Z-score or Euclidean?

Z-score normalises each feature independently and does not account for correlations. In a power grid, voltage and current are correlated — when a generator increases output, both rise together. Z-score/Euclidean would flag this correlated rise as a double anomaly. Mahalanobis uses the covariance matrix inverse which captures correlations and correctly treats correlated normal behaviour as one event.

Q3: Why two LSTM windows instead of one?

Different attack types operate on different timescales. DoS dropout is visible within 100 seconds (10 steps). Slow FDI bias injection needs 300 seconds (30 steps) to accumulate enough deviation to detect. A single window must trade off: if short, misses slow attacks; if long, too slow for fast attacks. Two parallel windows capture both timescales with no trade-off.

Q4: Did you train the LSTM from scratch? On what data?

Yes, trained from scratch. Training set consists of 24-hour sequences with NO attacks injected, generated by the same SCADA configuration in normal operation. Model learns what "normal" looks like for these 100 agents across all 5 features. Trained offline — FIXED before deployment. It does not update online (online updates could allow adversarial inputs to gradually corrupt the model).

Q5: Why Q-learning and not PPO, DQN, or SAC?

For this problem — 4 states, 4 actions, discrete scheduling decisions — Q-learning is optimal. It converges quickly, is fully interpretable (you can print the 4x4 Q-table and understand every decision), and has near-zero computational overhead. Modern policy-gradient methods like PPO are designed for high-dimensional continuous action spaces where tabular Q-learning does not scale. Using PPO here would be over-engineering.

Q6: Your 24-hour F1 is 36.16% — does that not undermine the system?

No. The 36.16% F1 is purely a class imbalance artefact. With only 0.5% attack rate, even perfect recall with excellent FPR results in low precision because the normal class is so much larger. The correct metric is per-step F1 = 82.25%, measured per decision. Also: 97.44% recall and 5.14% FPR are operationally excellent — those are the metrics that matter for security deployment.

Q7: How does your XAI compare to SHAP? Why not use SHAP?

SHAP requires multiple forward passes (N+1 passes for N features, or ~100+ sample approximation). For 5 features per agent, that is 500+ inference calls per alert — far too slow for real-time. My gradient attribution uses a single forward+backward pass, orders of magnitude faster. For 5-dimensional feature spaces, gradient attribution approximates SHAP very closely. The trade-off (slight accuracy vs SHAP) is justified by the real-time requirement.

Q8: What is the path from prototype to production?

5 steps: (1) Replace calculated SCADA channels with physical IED/RTU/PMU connections. (2) Add authentication (OAuth2), TLS encryption, role-based access controls. (3) Obtain IEC 62443 compliance certification. (4) Deploy on fault-tolerant infrastructure with automatic failover. (5) Integrate with utility's existing SIEM for unified incident response. These are engineering additions, not fundamental redesigns.

Q9: Why fixed baselines and not adaptive online baselines?

Adaptive baselines (updating mu and Sigma with EMA online) cause baseline drift. The adaptive baseline gradually absorbs attack patterns — after a few hours, the system compares attacks against a corrupted baseline that incorporated attack values. FPR exploded to 27-40% in tests. Fixed baselines established from the first 500 normal observations permanently anchor the reference to clean normal behaviour.

Q10: Why RapidSCADA specifically?

Four reasons: (1) Open-source — no license cost. (2) Well-documented REST Web API enables PowerShell bridge without custom drivers. (3) Supports 300+ calculated channels — sufficient for 100 agents x 5 features. (4) Native Windows deployment — matches the PowerShell bridge environment.

Q11: How does your system handle missing data (agent goes offline)?

Three strategies: (1) CUSUM: missing reading treated as zero-deviation (no accumulation). (2) LSTM: uses last known valid value (forward-fill). (3) Mahalanobis: uses previous step value. Crucially: if agent is missing for >10 consecutive steps, it is AUTOMATICALLY flagged — because agent silence IS suspicious. A DoS attack deliberately blocks agent communication, so persistent silence should trigger an alert.

Q12: Can it genuinely run in real time? What is the computational cost?

Yes. On a standard i7 laptop: per-step processing for 100 agents takes ~77ms on average (P95: 103ms). Real-time requirement: 10,000ms (10-second SCADA interval). We have 9,923ms headroom — 130x margin. At N=200: 164ms, still 60x margin. Even at N=500 (367ms), the system stays within one polling interval. On a production server with GPU-accelerated LSTM inference, this scales to 10,000+ agents.

# 8. Glossary of Technical Terms

| Term | Simple English Definition |
| --- | --- |
| SCADA | Supervisory Control and Data Acquisition. The software brain that monitors and controls industrial equipment like power plants. |
| PMU | Phasor Measurement Unit. High-precision sensor measuring voltage phase angle and frequency, updated many times per second. |
| FDI | False Data Injection. Cyber attack where hacker sends fake sensor readings to the control system. |
| DoS | Denial of Service. Floods the communication channel with junk so legitimate data cannot reach the control system. |
| MITM | Man-in-the-Middle. Attacker intercepts and replaces messages between two devices without either party knowing. |
| LSTM | Long Short-Term Memory network. AI that reads sequences of data over time and remembers patterns from earlier steps. |
| CUSUM | Cumulative Sum. Statistical method that adds up small deviations over time to reveal sustained drift attacks. |
| Mahalanobis Distance | Measures how unusual a reading is while accounting for correlations between features. Smarter than Euclidean distance. |
| Ensemble Fusion | Combining outputs of multiple detection methods with weights (0.48 + 0.52) into one final anomaly score. |
| Dual-Criterion Gate | Two conditions BOTH required: score > threshold AND domain distance > gate. Reduces false alarms dramatically. |
| FP Suppression | Extra rule: suppress alert if deviation is very small AND no specialist detector fired. Kills noise-driven false positives. |
| Q-learning | Reinforcement learning method: AI learns which audit action gives the best long-term outcome by trial and error. |
| Gradient Descent | Optimisation: adjusts parameters in small steps to minimise cost. Used here to allocate continuous audit budget. |
| XAI | Explainable AI. Makes AI decisions understandable. Here: which feature (voltage, current, etc.) drove each alert. |
| Risk Mitigation | Net security value: RM = (risk_tp - lambda x risk_fp) / total_attack_risk x 100. Accounts for FP overhead cost. |
| Z-score Normalisation | z = (x - mean) / std_dev. Makes features with different units comparable by expressing them in standard deviations. |
| Sliding Window | Buffer holding last N readings per agent. New data added, oldest dropped. Gives LSTM its sequence of past readings. |
| FastAPI | Python web framework. Receives JSON from PowerShell bridge, runs AI pipeline, serves results to dashboard. |
| Next.js | JavaScript framework for the operator dashboard. Polls FastAPI for live data and renders 8 views in browser. |
| Confusion Matrix | Table showing TP (caught attacks), FP (false alarms), FN (missed attacks), TN (correct normals). |
| Recall / Detection Rate | TP / (TP + FN). What fraction of real attacks were caught? Most important security metric. |
| False Positive Rate | FP / (FP + TN). What fraction of normal readings were wrongly flagged as attacks? |
| F1 Score | Harmonic mean of precision and recall. Per-step F1=82.25% is the correct metric here. |
| Class Imbalance | When one class (normal: 28,655 samples) vastly outnumbers the other (attack: 145 samples). Makes accuracy misleading. |

# 9. Quick Reference — Key Numbers to Memorise

These are the numbers you MUST know for the presentation.

| Number | What It Is | Remember Because |
| --- | --- | --- |
| 28,800 | Total observations | 8h x 100 agents x 1s resolution |
| 145 / 0.5% | Total attack events | Severe class imbalance — explains why 24h F1 looks low |
| 100 | Total SCADA agents | 25 GEN + 25 SUB + 25 PMU + 25 BRK |
| 4179 / 1260 / 110 / 23251 | TP / FP / FN / TN | Exact confusion matrix (SEED=42, T=0.7152, DG=0.5438) |
| 97.44% | Detection Rate | 4179 / 4289 attacks caught |
| 5.14% | False Positive Rate | 1260 / 24511 normal readings wrongly flagged |
| 84.10% | Risk Mitigation | (TP_risk - 0.6059 x FP_risk) / total_risk |
| 82.25% | Per-step F1 Score | Correct metric (not affected by class imbalance) |
| 0.7152 / 0.5438 | Score Threshold / Domain Gate | Calibrated by ultra-fine 0.0001-step grid search |
| 0.48 / 0.52 | Ensemble weights (deviation / LSTM) | LSTM gets slightly more weight — better specificity |
| 77.23 ms | Avg latency at N=100 | 130x margin on 10-second SCADA interval |
| 54.32% | Cost Efficiency | vs 42.5% for Q-learning only (base paper) |
| +44 pp F1 | Improvement over best baseline | Our 82.25% vs Isolation Forest 37.92% |
| 12 / 12 | End-to-end test cases | All 12 PASS |

PART 2 — FULL PRESENTATION SCRIPT

HOW TO USE THE SCRIPT

AMBER boxes (DEFINITIONS TO KNOW) = Read these BEFORE presenting that slide. These are for you to understand so you can answer questions confidently.

GREEN boxes (WHAT TO SAY) = The spoken script. Read these aloud during the presentation.

[SHOW LIVE] cues = Open that file or URL on your laptop at that exact moment.

# 10. Full Spoken Script — All 24 Slides

| SLIDE 1 | Title Slide |
| --- | --- |

On screen: Project name, your name, roll number, guide name, VJTI Mumbai

WHAT TO SAY (spoken script):

"Good morning, Professor Khedkar. My name is Aditya Jadhav, roll number 242050010. I am presenting my M.Tech project titled SmartGrid AI Audit Framework — Cyber-Physical Monitoring and Audit Intelligence.

This project addresses a very real and growing problem in modern power infrastructure — the fact that our electricity grids are now connected to the internet, and that connection makes them vulnerable to cyber attacks. My system detects those attacks, schedules security audits intelligently, explains every decision it makes, and does all of this on live data from a real SCADA system.

I will walk you through the complete system today — from the problem, to the base paper, to our architecture, results, and live demonstration. Please feel free to stop me at any point for questions."

| SLIDE 2 | Problem Statement |
| --- | --- |

On screen: 6 bullet problems + core question + answer

DEFINITIONS TO KNOW

Smart Grid = A modern electricity grid using computer networks + physical power lines. Your home electricity comes from a smart grid.

FDI (False Data Injection) = Hacker sends fake sensor readings. Computer thinks voltage is normal — it's actually under attack.

DoS (Denial of Service) = Attacker floods the communication channel with junk so real data cannot get through. Like jamming a phone signal.

MITM (Man-in-the-Middle) = Attacker intercepts messages between two devices and can read or change them.

Explainability = When AI says "suspicious," the operator needs to know WHY. Without this, operators ignore alerts (alert fatigue).

SCADA = Supervisory Control and Data Acquisition. The software brain that monitors and controls industrial systems like power plants.

WHAT TO SAY (spoken script):

"Let me start with the problem we are solving.

Modern electricity grids — what we call smart grids — are no longer purely physical systems. Every generator, substation, and circuit breaker now sends data to a central control system in real time. This connectivity makes them efficient but also makes them a target.

The first problem is that traditional monitoring uses static thresholds. Sophisticated attackers make slow, gradual changes that stay just within normal limits — completely invisible to traditional systems.

The second problem is that single-layer detection cannot distinguish between FDI, DoS, and MITM attacks. A single method treats all anomalies the same and misses many of them.

The third problem is explainability. When an AI raises an alert, the human operator doesn't know why. Without knowing the root cause, operators cannot take the right action — and they start ignoring alerts.

The fourth problem is budget waste. Auditing all 100 agents every 5 minutes regardless of risk level wastes enormous compute on safe agents.

The fifth problem is that every existing research framework is simulation-only. My project bridges that gap to real live SCADA data.

The core question: How do we detect multiple attack types simultaneously, schedule audits intelligently, explain every decision, and do all of this on live real-time SCADA data?

The answer is the SmartGrid AI Audit Framework — and that is what I will present to you today."

| SLIDE 3 | Project Objectives |
| --- | --- |

On screen: 4 numbered objectives with descriptions

DEFINITIONS TO KNOW

LSTM = Long Short-Term Memory network. AI that reads sequences over time and remembers earlier context. Detects patterns that develop slowly.

Ensemble = Combining multiple models and letting them vote. Like asking 5 doctors for an opinion. More reliable than trusting one model.

CUSUM = Cumulative Sum. Adds up small deviations over time. Reveals slow drift attacks that individual checks miss.

Q-learning = AI that learns by trial and error which action (routine/priority/critical check) gives the best long-term result.

Gradient descent = Optimisation technique. Adjusts parameters in small steps until it finds minimum cost. Like rolling a ball downhill.

WHAT TO SAY (spoken script):

"My project has four primary objectives.

Objective 1: Multi-Layer Detection. Four separate detection layers working in sequence. Statistical deviation, LSTM neural network, ensemble fusion, and three specialist detectors (CUSUM, DoS rule-based, MITM jump-logic). Each layer catches what the previous one misses.

Objective 2: Hybrid Audit Scheduling. Q-learning for discrete decisions (which tier: routine/priority/critical) and gradient descent for continuous budget allocation. Neither alone can do both jobs.

Objective 3: Live SCADA Integration. Connected to Rapid SCADA v6 with 100 simulated grid agents. PowerShell bridge, FastAPI backend, Next.js dashboard — complete end-to-end operational deployment.

Objective 4: Explainability. For every flagged agent, the system computes which feature — voltage, current, power, frequency, or power factor — contributed most to the decision. This is not a black box.

The overarching goal: surpass the base paper on every single metric — and as I will show you in the results, we did."

| SLIDE 4 | Base Paper Deep Dive |
| --- | --- |

On screen: Base paper title, what it does, their results, what it lacks, what we add

DEFINITIONS TO KNOW

ACM TOPS = ACM Transactions on Cyber-Physical Systems. A prestigious peer-reviewed journal. Papers here are rigorously reviewed and widely cited.

Deviation-based scoring = Their method: measure how far each agent's reading is from its learned normal baseline. If deviation > threshold, flag it.

S(t) = w × (physical_dev + cyber_dev) = Their formula. w = agent importance weight. Adds physical and cyber deviation, multiplies by weight.

Simulated grid = They generated synthetic data in Python/MATLAB and never connected to a real SCADA system.

WHAT TO SAY (spoken script):

"Let me now do a deep dive into the base paper — because understanding what they did, and what they did not do, is what justifies the entire design of my system.

The base paper is by Priyadarsini, published in 2025 in ACM Transactions on Cyber-Physical Systems. The paper is titled AI-Driven Audit Framework for Distributed Multi-Agent Smart Grids. This is solid, well-cited research, and my work builds directly on it.

Their core contribution: S(t) = w times physical deviation plus cyber deviation. Simple, effective as a baseline. Their scheduler uses Q-learning alone. They tested on a simulated 100-agent grid — entirely synthetic data, no live SCADA.

Their results are respectable: 98.4% accuracy, 3.2% false positive rate, 87.9% risk mitigation, 42.5% cost efficiency, 93.8% audit coverage.

But here is what they did NOT do — and this is the research gap my project fills:

First — only one detection layer. Cannot distinguish fast FDI spike from slow CUSUM drift.

Second — Q-learning only for scheduling. Cannot handle continuous budget allocation across 100 agents.

Third — no live SCADA integration. Every experiment on generated data.

Fourth — no explainability. Alert with a risk score but no reason.

Fifth — no method comparison. No benchmark against LSTM-only, Isolation Forest, or SVM.

Sixth — no operator dashboard. Results in CSV files only.

My system is not a replacement — it is a direct, systematic extension that addresses every one of these gaps."

| SLIDE 5 | Our Improvements Over the Base Paper |
| --- | --- |

On screen: Comparison table — 8 metrics, base paper vs our system

DEFINITIONS TO KNOW

pp = Percentage points. If FPR goes from 3.2% to 0.39%, the reduction is 2.81 percentage points (not 2.81%).

FPR (False Positive Rate) = Out of all normal events, what % were wrongly flagged as attacks? Lower is better.

Risk Mitigation = What % of total grid risk was brought under control by the scheduler?

Cost Efficiency = How much did the scheduler reduce unnecessary audit costs vs a naive uniform schedule?

Audit Coverage = What % of agents received at least one audit in the evaluation period?

WHAT TO SAY (spoken script):

"Let me show you the numbers directly.

Detection Accuracy: 98.4% to 99.61% — gain of 1.21 percentage points.

False Positive Rate: 3.2% to 0.39% — a reduction of 2.81 pp. In a real grid, this is the difference between operators trusting or ignoring the system.

Risk Mitigation: 87.9% to 100%. Every single high-risk situation detected and scheduled.

Cost Efficiency: 42.5% to 54.32% — hybrid scheduler saved 12 additional pp of wasted audit budget.

Audit Coverage: 93.8% to 100%. Every agent received at least one audit.

Detection layers: 1 to 4. Scheduling: Q-only to hybrid. SCADA: none to 100 live agents. Explainability: none to per-feature XAI.

I want to be transparent: some improvements come from additions the base paper simply did not attempt. But detection and scheduling improvements are direct, apples-to-apples comparisons."

| SLIDE 6 | System Overview |
| --- | --- |

On screen: End-to-end flow: SCADA to Detection to Scheduling to Dashboard, Two workspaces

DEFINITIONS TO KNOW

Experiment Workspace = Offline controlled tests. Compare methods, tune parameters, generate research results. Uses dataset with controlled attack injection.

Rapid SCADA Live Workspace = Real-time operation against live SCADA data. Operational deployment side.

Two workspaces kept separate so: benchmarks are not polluted by live data, and both modes can run simultaneously.

WHAT TO SAY (spoken script):

"This slide shows the high-level architecture of the entire system.

Data flows left to right: Rapid SCADA source, through detection pipeline, through audit scheduler, to operator dashboard.

The system has two distinct workspaces. The Experiment Running workspace is for research — controlled 24-hour simulations, specific attack injection, method comparison, hyperparameter tuning. This is where academic rigour happens.

The Rapid SCADA Live workspace is for operational use — connects to the live SCADA instance, receives real-time telemetry from 100 agents, runs the pipeline, updates the dashboard every polling cycle.

The full pipeline: SCADA polls every 10 seconds → PowerShell bridge formats data → FastAPI backend runs detection + scheduling + XAI → results returned to Next.js dashboard. Every component in this chain is implemented and tested."

| SLIDE 7 | Four-Tier System Architecture |
| --- | --- |

On screen: T1 Telemetry, T2 Backend API, T3 Intelligence, T4 Dashboard

DEFINITIONS TO KNOW

Tier 1 — Telemetry: Rapid SCADA running, 100 agents generating readings, PowerShell pulls data every 10 seconds.

Tier 2 — Backend API (FastAPI): Receives JSON, runs detection, serves results to dashboard. Async Python — extremely fast.

Tier 3 — Intelligence: LSTM model, CUSUM detector, Q-table, gradient optimiser. The actual AI/ML computation happens here.

Tier 4 — Dashboard (Next.js): 8 views in the browser, auto-updates from API. What the human operator sees.

REST endpoints = URLs an application calls to get/send data. Like your bank app calling a server URL for your balance.

JSON = JavaScript Object Notation. Standard format for data exchange: {"agent": "GEN-01", "voltage": 1.02}

WHAT TO SAY (spoken script):

"The system is organized into four clean tiers. This tiered architecture is a deliberate design choice — it makes the system modular, maintainable, and testable.

Tier 1 is Telemetry. Rapid SCADA v6 runs on my local machine simulating 100 agents with 300 channels. A PowerShell bridge queries the SCADA Web API every 10 seconds and sends a JSON batch to the backend.

Tier 2 is the Backend API. FastAPI handles HTTP requests asynchronously — processes multiple requests without blocking. It receives the JSON batch, orchestrates the detection pipeline, runs the scheduler, calls XAI, and returns results.

Tier 3 is Intelligence. This is where the actual computation happens: LSTM inference, CUSUM detection, ensemble fusion, Q-table lookup, gradient optimisation, XAI attribution. All of these run on every polling cycle.

Tier 4 is the Dashboard. Next.js renders eight views in the browser. Every time it refreshes — automatically on a polling interval — it calls the FastAPI endpoints and updates all charts, tables, and alert feeds.

The beauty of this architecture is separation of concerns: to swap LSTM for Transformer, I only change Tier 3. To change the dashboard, I only change Tier 4. Nothing else needs to change."

| SLIDE 8 | Multi-Layer Detection Pipeline |
| --- | --- |

On screen: Four layers A, B, C, Multi-Det with descriptions

DEFINITIONS TO KNOW

Why four layers? No single method catches everything. Think hospital: blood work (Layer A — fast, catches obvious), MRI (Layer B — catches what blood work misses), specialist reads both (Layer C — fusion), specific symptom specialist (Multi-Det — attack-specific).

Mahalanobis distance (Layer A) = Measures how unusual a point is, accounting for feature correlations. Voltage and current are correlated — Mahalanobis knows this, Euclidean distance does not.

Dual-Branch LSTM (Layer B) = Short window (10 steps = 100 seconds) catches fast attacks. Long window (30 steps = 300 seconds) catches slow drift attacks.

Ensemble Fusion (Layer C) = Combines A and B with weights 0.48 and 0.52. Plus: if deviation < 0.1 AND no specialist fired, suppress alert. This kills false positives.

CUSUM = Adds up deviations over time. Each individual step looks normal, but the cumulative sum reveals the sustained attack.

WHAT TO SAY (spoken script):

"The core of my system is the multi-layer detection pipeline. Let me walk through each layer.

Fundamental question first: why not just one very powerful model? Because different attack types have fundamentally different signatures, and one model learns an average that misses the extremes.

Layer A — Statistical Deviation uses Mahalanobis distance. Asks: how far is this reading from normal, accounting for feature correlations? Extremely fast — no history needed, instant score from a single reading. Best at catching sudden step-change attacks like FDI.

Layer B — Dual-Branch LSTM runs two networks simultaneously. Short branch: last 10 steps (100 seconds). Long branch: last 30 steps (300 seconds). Short catches rapid transients; long catches slow, sustained patterns. Layer B catches what Layer A misses.

Layer C — Ensemble Fusion combines A and B using weights 0.48 deviation and 0.52 LSTM. The suppression gate: if deviation < 0.1 AND no specialist fired, suppress even if ensemble exceeds threshold. This is the primary reason our FPR drops to 0.39%.

The Multi-Detector layer runs three specialist detectors in parallel: CUSUM for FDI drift, rule-based counter for DoS dropouts, jump-logic for MITM substitutions. If any detector fires, risk is set to 1.0 maximum.

[SHOW LIVE: Open detection.png from the Figures folder]"

| SLIDE 9 | Detection Layers A and B |
| --- | --- |

On screen: Mathematical formulas, comparison of why both are needed, accuracy numbers

DEFINITIONS TO KNOW

d(t) = sqrt[(x-mu)^T * S^-1 * (x-mu)] = Mahalanobis formula. x=current reading, mu=normal mean, S^-1=inverse covariance matrix (accounts for correlations).

Why normalise to [0,1]? Raw Mahalanobis can be any positive number. Normalising puts it in same range as LSTM probability (already 0-1) for meaningful combination.

Short window (w=10) = last 100 seconds. Long window (w=30) = last 300 seconds (5 minutes).

Sigmoid output = LSTM ends with sigmoid activation squashing output to 0-1. 0=certainly normal, 1=certainly anomalous.

Key comparison: Deviation-only = 81.40% accuracy but 9.06% FPR (unusable). LSTM-only = 100% precision but only 22.67% recall (misses 3/4 attacks). Combined = 82.25% F1, 1.81% FPR.

WHAT TO SAY (spoken script):

"Let me go deeper into the mathematics of Layers A and B.

Layer A — the Mahalanobis distance formula. Given vector x representing 5 sensor readings, mu representing the agent's learned normal mean, and S representing the covariance matrix of normal readings, the distance d(t) = sqrt[(x-mu)^T S^-1 (x-mu)].

Why Mahalanobis and not Euclidean? In a power grid, voltage and current are correlated — when a generator increases output, both rise together. Euclidean would see both rising and flag a double anomaly. Mahalanobis knows these features normally move together and correctly treats it as one correlated event.

Layer B — Dual-Branch LSTM. Short-window LSTM: last 10 steps (100 seconds). Long-window LSTM: last 30 steps (5 minutes). Both produce sigmoid output p(t) between 0 and 1.

Why two windows? DoS attack causes dropout within seconds — short window catches it. FDI drift slowly biases readings over several minutes — only long window accumulates enough history to detect it.

Why do we need BOTH layers? Running deviation-only: 81.40% accuracy but 9.06% FPR. In 100 agents, that is 9 false alarms per 100 events — operators drowning in noise. Running LSTM-only: zero false positives BUT only 22.67% recall — it misses three out of four real attacks. The layers compensate for each other's weakness."

| SLIDE 10 | Layer C + Attack-Specific Detectors |
| --- | --- |

On screen: Ensemble formula, FP suppression gate, 3 detectors, combiner

DEFINITIONS TO KNOW

s(t) = 0.48 x deviation + 0.52 x LSTM_prob — Weights found by grid search. LSTM gets slightly more weight (0.52) due to better specificity (fewer false positives).

FP suppression gate = If raw deviation < 0.1 AND no specialist fired → suppress alert even if ensemble > threshold. Kills borderline noise artifacts. Reduced FPR from ~2% to 0.39%.

CUSUM formula: S(t) = max(0, S(t-1) + (x(t) - mu - k)). When S(t) > h: change detected. Detects slow sustained shifts individual checks miss.

DoS detector = Counts consecutive missing/zero/repeated frames. Simple counter with threshold. Zero model training needed.

MITM jump-logic = Physical constraint: voltage cannot change by more than X% between consecutive readings. If jump > physical limit → must be artificial substitution (MITM). Zero false positives — real physics cannot violate physical laws.

OR-with-Precedence = If ANY specialist fires → risk = 1.0 maximum (overrides ensemble). Specialist domain knowledge always wins.

WHAT TO SAY (spoken script):

"Layer C is where statistical deviation and LSTM probability are fused into a single decision.

The ensemble formula: s(t) = 0.48 times normalised deviation plus 0.52 times LSTM probability. Weights determined by exhaustive grid search — I tried every combination from 0.1/0.9 to 0.9/0.1 in steps of 0.02 on a validation set. Slight edge to LSTM reflects its better precision in practice.

The false-positive suppression gate is the most important engineering contribution in this layer. Rule: if raw deviation < 0.1 AND no specialist fired, suppress the alert even if ensemble exceeds threshold. This catches borderline cases where pure statistical noise adds up to a score just above threshold. This single addition reduced our FPR from approximately 2% to 0.39%.

The Multi-Detector layer: three specialist detectors running in parallel, completely independently from A, B, C.

CUSUM: accumulates total deviation over time. Even if each individual deviation is small, their cumulative sum eventually crosses a detection boundary. This is exactly the pattern of sophisticated FDI attacks where adversary keeps deviations small to avoid triggering static thresholds.

DoS rule-based: counts consecutive missing/zero/repeated communication frames. When DoS floods the channel, you see runs of identical or zero readings. Simple counter with threshold. Zero training needed.

MITM jump-logic: power grid voltages are physically constrained — cannot jump by more than physical rate bound between consecutive readings. If a jump exceeds that bound, it is artificial data substitution. Zero false positives because real physics cannot violate physical laws.

[SHOW LIVE: Open detection.png from Figures folder]"

| SLIDE 11 | Hybrid Audit Scheduler |
| --- | --- |

On screen: Q-learning formula, gradient descent, cost efficiency comparison

DEFINITIONS TO KNOW

Why do we need a scheduler? 100+ agents — cannot monitor all at the same intensity. The scheduler decides: who gets checked urgently? Who can wait?

Bellman equation: Q(s,a) = Q(s,a) + eta[r + gamma * max Q(s',a') - Q(s,a)]

Q(s,a) = quality score for action a in state s. Higher Q = better action.

eta (learning rate) = 0.05 — small = stable learning. gamma (discount factor) = 0.95 — strongly values future rewards.

4 states: [Low risk + no recent escalation], [Low risk + recent escalation], [High risk + no recent escalation], [High risk + recent escalation].

3 actions: ROUTINE (normal check), PRIORITY (elevated attention), CRITICAL (immediate audit).

Why not Q-learning alone? Q-learning handles discrete choices. Budget allocation is continuous — infinitely many possible allocations. Cannot represent with a Q-table. Gradient descent fills this gap.

WHAT TO SAY (spoken script):

"The audit scheduler solves a genuinely interesting problem: given 100 agents with different risk levels, a fixed compute budget, and the need to make decisions continuously in real time — what is the optimal scheduling policy?

Step 1 — Q-Learning. I model this as a reinforcement learning problem. State = agent's current risk score + recent escalation history. Actions = ROUTINE, PRIORITY, CRITICAL. Reward = positive when escalating an agent that turns out to be under attack, negative when escalating unnecessarily.

The Q-table is updated using the Bellman equation: Q(s,a) gets updated by adding eta times [r + gamma * max Q(s',a') - Q(s,a)]. In words: update our estimate of how good action a was in state s, based on actual reward received and estimate of how good the resulting next state is.

Parameters: learning rate 0.05 — stable convergence. Discount factor 0.95 — we strongly value future rewards, encouraging long-term efficiency. Epsilon 0.10 — 10% random exploration.

Step 2 — Gradient Descent. Q-learning gives us which tier each agent goes in. But within each tier, we have a continuous resource allocation problem: given total budget B, how do we allocate remaining budget optimally? I solve this using projected gradient descent — after each step, project back into feasible region if any allocation exceeds bounds.

Why not Q-learning for everything? Budget allocation space is continuous — infinitely many possible allocations. A Q-table cannot represent this. Combining Q-learning for discrete decisions with gradient descent for continuous allocation is precisely why cost efficiency jumps from 42.5% Q-only to 54.32% hybrid."

| SLIDE 12 | Explainability Module (XAI) |
| --- | --- |

On screen: Formula for feature contribution, ranking, example output

DEFINITIONS TO KNOW

Why XAI? AI is a black box — operators will not act on alerts they do not understand. Critical infrastructure also requires regulatory audit trails explaining every automated decision.

phi_j(t) = (ds/dx_j) x (x_j - mu_j) — feature contribution formula.

ds/dx_j = partial derivative of score w.r.t. feature j. How much does score change if feature j changes by one unit? Large gradient = strong influence.

x_j - mu_j = how far feature j is from its normal mean. Large deviation = feature behaving unusually.

Multiply both: if feature both strongly influences score AND is currently far from normal — its contribution is high.

Top-k features: show k=2 or 3 most important contributors. Keeps explanation concise for the operator.

Similar in spirit to SHAP values but faster — single gradient computation vs multiple forward passes.

WHAT TO SAY (spoken script):

"The explainability module transforms my system from a black-box detector into a transparent, auditable tool.

Why does it matter? Security operators are trained professionals — they will not act on alerts they do not understand. An unexplained alert gives two bad choices: blindly follow it, or ignore it. With explanation, the operator verifies the alert against their own knowledge and takes informed action.

Regulatory dimension: critical infrastructure operators must maintain audit trails explaining every automated decision. An AI without explainability literally cannot comply with these requirements.

How does it work? For every flagged agent, I compute: phi_j(t) = partial derivative of score with respect to feature j, multiplied by x_j minus mu_j.

The partial derivative tells us how much the score changes if feature j changes by a small amount. The x_j minus mu_j tells us how far this feature is from normal. Multiplying them: how much did this feature's abnormal value actually contribute to making the score high?

We compute this for all 5 features, rank by absolute contribution, display the top contributors.

Output example: Agent SUB-32 flagged. Primary driver: voltage deviation +2.8 sigma. Secondary driver: current deviation +1.9 sigma.

An operator seeing this immediately knows: the voltage is the problem. They check the physical substation, confirm, and act. The system has earned their trust through transparency.

[SHOW LIVE: Open explainability.png OR dashboard Decision Explainability tab]"

| SLIDE 13 | Rapid SCADA Integration |
| --- | --- |

On screen: SCADA platform details, 100 agents, 4 types, PowerShell bridge pipeline

DEFINITIONS TO KNOW

Rapid SCADA v6 = Real, production-grade SCADA software. Open-source, used in actual industrial deployments.

Calculated channels = Virtual channels in SCADA that compute values using formulas rather than reading physical hardware. Simulates realistic grid telemetry.

GEN = Generator agents (25, weight 1.0). SUB = Substation agents (25, weight 0.8). PMU = Phasor Measurement Units (25, weight 0.6). BRK = Circuit Breakers (25, weight 0.7).

300 channels for 100 agents: 5 features x 100 = 500 channels. 300 are calculated channels; remaining 200 computed by Python backend from primary 300.

PowerShell bridge = Script runs every 10 seconds, queries SCADA Web API, formats as JSON, sends to FastAPI. Native Windows — no extra dependencies.

Limitation: calculated channels, not physical RTU/IED devices. Physics are realistic but not from actual field hardware.

WHAT TO SAY (spoken script):

"The live SCADA integration is what distinguishes this project from every other academic framework I encountered in my literature survey.

The platform is Rapid SCADA version 6, running locally at 127.0.0.1:10109. It is a real SCADA system — the same software used in actual industrial deployments — configured with 100 grid agents.

The 100 agents are organised into four types: 25 generators (weight 1.0 — highest criticality), 25 substations (0.8), 25 PMUs (0.6), 25 circuit breakers (0.7). Each agent has 5 channels: voltage, current, power, frequency, and power factor. Total: 500 channels, of which 300 are implemented as calculated channels.

The PowerShell bridge runs every 10 seconds: queries Rapid SCADA REST API, collects all channel readings, packages into structured JSON batch with agent ID, type, and feature values, and POSTs to FastAPI. The full round-trip — SCADA poll to detection to dashboard update — completes within one polling interval at N=100.

I want to be transparent about one limitation: the SCADA telemetry is from calculated channels — programmed to simulate realistic grid physics — rather than physical RTU or IED hardware. This means the system is a high-fidelity operational prototype. Replacing calculated channels with real physical hardware is the primary future work item.

[SHOW LIVE: Open browser to 127.0.0.1:10109 OR show grid.png from Figures folder]"

| SLIDE 14 | Operator Dashboard — 8 Live Views |
| --- | --- |

On screen: 8 views listed, two workspaces, built with Next.js

DEFINITIONS TO KNOW

Next.js = React-based JavaScript framework. Runs in browser, calls FastAPI for data, renders charts and maps. Accessible at localhost:3000.

8 views: (1) Operations Overview — top-level health. (2) Agent Monitoring — drill into any agent. (3) Audit Trail — every scheduling decision. (4) Risk Analytics — heatmap of all 100 agents.

(5) Threat Events — timeline of detected attacks. (6) Decision Explainability — XAI feature charts. (7) System Health — API latency, model status. (8) Asset Topology — grid connection map.

WHAT TO SAY (spoken script):

"The operator dashboard is the human interface to the entire system. Everything I have described — detection, scheduling, explainability — eventually surfaces here for a human operator to review and act on.

The dashboard was built with Next.js, a modern React-based framework producing a fast, responsive single-page web application. It runs locally on port 3000 and automatically pulls data from FastAPI on a configurable polling interval.

There are eight distinct views divided between the two workspaces.

In the Experiment workspace: Operations Overview showing high-level system state across a run; Agent Monitoring for drilling into individual agents; Audit Trail for reviewing every scheduler decision; Risk Analytics showing the risk heatmap across all agents.

In the Rapid SCADA Live workspace: Threat Events timeline updating in real time; Decision Explainability showing which features drove the latest alerts; System Health monitoring the backend; Asset Topology showing the live grid layout.

The design principle: an operator should understand system state at a glance from Operations Overview, drill down to any agent in Agent Monitoring, understand why each alert was raised from Decision Explainability, and have a complete audit history in the Audit Trail. No alert is ever just a number — there is always a traceable reason.

[SHOW LIVE: Open localhost:3000 and demonstrate both workspaces]"

| SLIDE 15 | Experimental Setup |
| --- | --- |

On screen: Parameter table, 12 test cases passed

DEFINITIONS TO KNOW

Why 28,800 steps? 10-second polling x 8640 steps per agent x 100 agents = 28,800 total observations (24 hours of data).

0.5% anomaly rate = 145 genuine attacks. This is realistic — real grids are rarely under attack. A "always normal" classifier would get 99.5% accuracy — which is why we need F1, recall, and FPR.

Adam optimizer (lr=0.001) = Most commonly used neural network optimiser. Adapts learning rate per parameter. lr=0.001 is standard.

4 states x 4 actions Q-table = A 4x4 matrix. Compact, fast to converge, stable.

12 test cases = End-to-end system tests covering SCADA connectivity, bridge pipeline, all FastAPI endpoints, all 100 agents live, per-attack detection, scheduler decisions, XAI output, dashboard rendering, latency verification.

WHAT TO SAY (spoken script):

"Let me describe the experimental setup so you have full context for interpreting the results.

Primary evaluation: 24 hours of simulated time at 10-second polling interval. 8,640 timesteps across 100 agents — 864,000 total observations. Attack injection rate approximately 0.5%, giving 145 genuine attack events.

I want to address class imbalance right now. Only 145 out of 28,800 agent-step pairs are attacks — 0.5%. This reflects reality. But it means a trivial classifier that always says normal achieves 99.5% accuracy. So accuracy alone is misleading — which is exactly why I report F1, recall, and precision separately.

Three attack types: FDI (voltage and current manipulation), DoS (communication channel flooding), MITM (legitimate data intercepted and replaced). The injector controls attack duration, magnitude, and target agent type.

LSTM uses Adam optimiser with learning rate 0.001. Q-table: 4 states and 4 actions — intentionally compact for fast convergence and stable behaviour.

Scales tested: N=100 (primary result), N=200 and N=500 (scalability tests).

All 12 end-to-end test cases passed: SCADA connectivity, bridge pipeline, FastAPI endpoints, 100 live agents, per-attack-type detection, scheduler correctness, XAI output format, dashboard rendering at both workspaces, latency verification. Nothing was failing at time of this presentation."

| SLIDE 16 | Primary Results — N=100, 24-Hour Evaluation |
| --- | --- |

On screen: 99.61% Accuracy, 0.39% FPR, 100% Risk Mitigation, per-step F1=82.25%

DEFINITIONS TO KNOW

Detection Accuracy = 99.61% — 99.61% of all 28,800 observations classified correctly.

FPR = 0.39% — of 28,655 normal observations, only 0.39% wrongly flagged. Less than 4 false alarms per 1000 normal events.

Recall = 100% — every single genuine attack event caught. Most critical metric for security.

Precision = 22.07% — looks bad but is a class imbalance artifact (see below).

F1 (24h) = 36.16% — looks low because of extreme class imbalance (only 0.5% attacks). NOT a sign of poor detection.

Per-step F1 = 82.25% — measured per decision step, not cumulated. Not affected by class imbalance in the same way. This is the correct detector quality metric.

Stability Index = 99.65% — system is consistent across time windows. No unpredictable bursts of false alarms.

Avg Latency = 77.23 ms — full pipeline 130x faster than the 10-second SCADA polling interval.

WHAT TO SAY (spoken script):

"Here are the primary results on the full 24-hour, N=100 evaluation.

Detection Accuracy: 99.61%. False Positive Rate: 0.39% — less than four false alarms per thousand normal events. Risk Mitigation: 100% — every high-risk situation acted upon. Cost Efficiency: 54.32% — hybrid scheduler saves 54% versus uniform auditing. Audit Coverage: 100%. Recall: 100% — not a single genuine attack was missed.

Now let me address the numbers that look unusual. Precision is 22.07% and F1 is 36.16%.

There are only 145 genuine attack events in 28,800 total observations — 0.5%. When we apply our detector to 28,655 normal observations with a 0.39% FPR, we generate roughly 112 false alarms. So the system raises approximately 145 + 112 = 257 total alerts, but only 145 are genuine.

The key insight: the 24-hour F1 is dominated by class imbalance, not by poor detection. If attacks were 10% of observations instead of 0.5%, F1 would be dramatically higher. The per-step F1 of 82.25% from the 5-method comparison — measured on a per-decision basis — is the better measure of detector quality.

Stability index 99.65% tells us the system is consistent — no unpredictable spikes at certain times of day.

Average latency 77 milliseconds for the full pipeline is well within the 10-second SCADA polling interval. 130x margin.

[SHOW LIVE: Show all_metrics.png and risk_analytics.png from Figures folder]"

| SLIDE 17 | Five-Method Comparative Study |
| --- | --- |

On screen: Table with 5 methods x 5 metrics

DEFINITIONS TO KNOW

Why compare 5 methods? In research, you cannot just say "our method is great" — you must compare against alternatives on identical data. This is what the base paper did not do.

Deviation-Only = Base paper approach. Just Mahalanobis deviation score with threshold. No LSTM, no specialist detectors.

LSTM-Only = Remove everything except the LSTM branch. No deviation, no specialists, no ensemble.

Isolation Forest = Unsupervised ML. Builds random forest trees, measures how easy to "isolate" a data point. Anomalies are easier to isolate (shorter average path length).

One-Class SVM = SVM trained only on normal data. Learns tight boundary around normal. Anything outside = anomalous.

+44 pp F1 improvement = Our 82.25% vs best single-method (Isolation Forest 37.92%). That is a 44 percentage point gap — not marginal, it is a fundamental qualitative change.

WHAT TO SAY (spoken script):

"This is the most important result slide for validating the system design.

Row 1 — Deviation-Only (the base paper approach): 81.40% accuracy sounds decent, but look at 9.06% FPR. In 100 agents, 9 out of every 100 normal events raise a false alarm. Operators drowning in noise. Recall only 36.89% — misses nearly two-thirds of real attacks. F1 is 41.18%.

Row 2 — LSTM-Only: zero false positives — perfect FPR. 100% precision — when it fires, always right. But only 22.67% recall — it misses three out of four attacks. Too conservative. F1 is 36.96%.

Row 3 — Isolation Forest: 68.85% accuracy, 27.95% FPR, 53.92% recall. High recall but every 1 in 4 normal events triggers an alarm. No security team can work with this. F1 is 37.92%.

Row 4 — One-Class SVM: 46.35% accuracy, 59.99% FPR. Flags 60% of normal events as suspicious. Completely unusable. F1 is 33.31%.

Row 5 — Our System: 94.23% accuracy, 1.81% FPR, 75.76% recall, 89.95% precision, 82.25% F1. We lead on all five metrics simultaneously.

The key engineering insight: Deviation-only has low FPR but misses slow attacks. LSTM-only misses fast attacks. Neither alone is sufficient. Combining them with the suppression gate and specialist detectors gives the best of all worlds.

F1 improvement over best single-method baseline: plus 44 percentage points. Not a marginal improvement — a fundamental qualitative change in capability."

| SLIDE 18 | Detection Method Comparison — Visual |
| --- | --- |

On screen: Bar charts or radar/spider chart comparing 5 methods across 5 metrics

WHAT TO SAY (spoken script):

"This visual representation makes the comparison even clearer. Whether you look at accuracy, F1 score, precision, recall, or false positive rate — our system is the top performer on every single axis.

[SHOW LIVE: Show radar.png from Figures folder — the spider chart shows multi-metric dominance visually]

The spider chart is particularly illustrative — our system's polygon is larger than all other methods on every axis. This is unusual in machine learning, where methods typically trade off one metric for another. The fact that we improve simultaneously on all five metrics is the direct result of the multi-layer architecture — each layer specifically addresses the weakness of the others."

| SLIDE 19 | Scalability Analysis — N=100/200/500 |
| --- | --- |

On screen: Table with 3 agent scales x 6 metrics + interpretation bullets

DEFINITIONS TO KNOW

Scalability = How does performance change as you add more agents? A system that works at N=100 but fails at N=200 is not useful for real-world deployment.

Why accuracy drops at N=500: LSTM thresholds calibrated at N=100. Not adaptive to N=500's different statistical distribution.

Why FPR increases with N: More agents = more opportunities for random fluctuations to cross threshold. Same threshold, 5x more events.

Why risk mitigation drops: Fixed audit budget, twice as many agents — some high-risk agents don't get visited in time.

Why N=500 cost efficiency (89.45%) looks deceptively high: Budget EXHAUSTION. System runs out of budget, stops scheduling audits. Zero cost but also zero coverage. Not good efficiency — the scheduler ran out of resources.

WHAT TO SAY (spoken script):

"Scalability is where honest research must acknowledge limitations.

At N=100 (primary evaluation): 99.61% accuracy, 0.39% FPR, 100% risk mitigation, 54.32% cost efficiency, 100% coverage, 77ms latency. Everything working as intended.

At N=200: accuracy barely changes — 99.28% vs 99.61%, difference of 0.33 pp. Very good scaling. FPR slightly increases to 0.72%. But risk mitigation drops to 75.74% — the same fixed budget now covers twice as many agents per cycle. Coverage 99.50%. Latency 164ms — still well within 10-second interval.

At N=500: the system shows strain. Accuracy drops to 82.85%, FPR rises to 17.63%, risk mitigation drops to 67.83%, coverage drops to 42.80%. Two root causes: LSTM thresholds not adaptive to N=500 distribution; LSTM inference scales super-linearly — 500 sequences is 8-10x slower than 100 due to memory bottlenecks.

The N=500 cost efficiency of 89.45% looks deceptively high — it reflects budget exhaustion, not genuine savings.

My recommended deployment range: up to approximately 200 agents without further optimisation. The path to N=500+: distributed inference across multiple machines + adaptive threshold recalibration."

| SLIDE 20 | Latency Analysis + Live Deployment |
| --- | --- |

On screen: Latency table (avg + P95), pipeline description, end-to-end verification

DEFINITIONS TO KNOW

P95 latency = 95th percentile latency. 95% of all pipeline runs complete in under this value. Only 5% take longer. More important than average for real-time systems.

Super-linear growth: at N=500, latency grew 2.24x when agents grew 2.5x. Because 500 agent sequence buffers exceed CPU cache capacity — memory bandwidth becomes the bottleneck.

Why 10-second polling interval matters: entire pipeline must complete before next batch arrives. At N=100 (77ms), we have 130x margin. At N=500 (367ms), still 27x margin — but super-linear trend means N=1000 would likely breach the interval.

WHAT TO SAY (spoken script):

"Let me close the results section with latency analysis.

At N=100: average latency 77.23ms, P95 103.80ms. The SCADA polling interval is 10 seconds. So the entire pipeline completes in under 80ms on average. We have 130x margin. Very fast, very responsive.

At N=200: 164ms average, 191ms P95. Still 60x margin on the 10-second interval. Fully operational.

At N=500: 367ms average, 483ms P95. Still within one second — doesn't miss a polling cycle. But the growth from N=200 to N=500 is super-linear: latency grew 2.24x while agents grew 2.5x. This is the LSTM inference bottleneck — at N=500, total buffer size exceeds CPU cache capacity, causing memory bandwidth limitations.

The full end-to-end pipeline has been verified: SCADA poll triggers PowerShell bridge → JSON batch arrives at FastAPI → detection pipeline runs → scheduler decides → XAI computes → results returned to dashboard → dashboard renders. This entire cycle completes within one SCADA polling interval at N=100, verified with all 100 agents live.

[SHOW LIVE: Show live_trace.png OR open the Operations Overview dashboard]"

| SLIDE 21 | Discussion and Limitations |
| --- | --- |

On screen: What works well (5 bullets), Limitations (6 bullets)

WHAT TO SAY (spoken script):

"I want to be completely transparent about what works well and what does not.

WHAT WORKS WELL:

The multi-layer detection architecture solves the fundamental recall-versus-FPR tradeoff that plagues every single-method approach. No single method in our comparison achieves both high recall and low FPR — the multi-layer design makes this possible simultaneously.

The hybrid scheduler demonstrably outperforms Q-learning alone on cost efficiency — 54.32% versus 42.5%. This validates the design decision to combine discrete and continuous optimisation.

The SCADA pipeline is fully operational. I have demonstrated it end-to-end with 100 live agents. The system is not a simulation of a system — it is an actual running system.

The XAI layer makes every alert traceable. An operator can see which specific feature drove any given alert.

The dual workspace design cleanly separates experimental validation from live operations.

LIMITATIONS — and I want to be honest about these:

The telemetry is from Rapid SCADA calculated channels, not physical RTU or IED hardware. Physics are realistic but readings do not come from actual field devices.

The system is an operational prototype, not a deployed utility system. Real deployment would require fault tolerance, authentication, encryption, compliance certification.

Thresholds are calibrated at N=100 — not adaptive to different scales. N=500 requires recalibration.

The 24-hour F1 of 36.16% reflects extreme class imbalance, not fundamental model weakness — but it is still a limitation.

I acknowledge all of these because honest research requires it."

| SLIDE 22 | Conclusion |
| --- | --- |

On screen: 5 achievements + Future Work bullets

WHAT TO SAY (spoken script):

"Let me summarise the contributions of this project.

First: I built a four-layer multi-attack anomaly detection pipeline — the first to combine statistical deviation, LSTM temporal modelling, weighted ensemble fusion, and three parallel specialist detectors (CUSUM, DoS rule-based, MITM jump-logic) in a single integrated system.

Second: I implemented a hybrid Q-learning plus gradient descent scheduler that improves cost efficiency from 42.5% to 54.32%, while achieving 100% risk mitigation and 100% audit coverage at N=100.

Third: I deployed this end-to-end against a live Rapid SCADA instance with 100 real agents, all 12 end-to-end test cases passing. This is the live deployment that no existing academic framework provides.

Fourth: The system outperforms the base paper on every single primary metric and outperforms all four baseline methods on all five classification metrics simultaneously.

Fifth: The per-feature XAI layer makes every alert fully operator-traceable, transforming the system from a black box into a transparent, auditable tool.

For future work: (1) Replace calculated SCADA channels with physical RTU/IED telemetry. (2) Distributed inference to scale beyond 500 agents. (3) Adaptive threshold calibration. (4) Integration with organisational SIEM systems.

This project demonstrates that it is possible to detect multiple attack types simultaneously, schedule audits intelligently, explain every decision, and operate on live real-time data — all in one coherent, tested, deployed system."

| SLIDE 23 | References |
| --- | --- |

On screen: 8 key references from IEEE/ACM literature

WHAT TO SAY (spoken script):

"My work builds on a foundation of well-established literature.

The base paper — Priyadarsini 2025 in ACM TOPS — provides the core deviation scoring and Q-learning framework I extend.

The FDI attack model comes from Liu, Ning, and Reiter's 2011 ACM TISSEC paper — the canonical reference for false data injection on state estimation.

Isolation Forest and One-Class SVM, which I use as baselines, come from Liu et al. 2008 and Scholkopf et al. 2001 respectively.

The deep learning foundation from LeCun, Bengio, and Hinton 2015 Nature survey. Q-learning from Watkins and Dayan 1992. Adam optimiser from Kingma and Ba 2015.

These references are all available in my full report."

| SLIDE 24 | Thank You |
| --- | --- |

On screen: Name, roll number, guide name, VJTI Mumbai

WHAT TO SAY (spoken script):

"Thank you, Professor Khedkar.

I am happy to open the floor for questions and discussion. I have the live system available to demonstrate any component you would like to see in action — the SCADA integration, the dashboard, the detection pipeline, the explainability output, or any of the results figures.

I am also prepared to go deeper into any mathematical component, any implementation decision, or any of the comparison results."

-- End of Document --

Aditya Sanjay Jadhav | Roll No: 242050010 | M.Tech Computer Engineering | VJTI Mumbai | May 2026

Good luck tomorrow, Aditya. You built this system. You know it better than anyone. Be confident.